Gen 3

Solar IH Gas Turbine Generator Set

200KW 250KVA, 694A

120/208 3 Phase

Fuel White Kerosene

Total Hours 448

Assembly 947386C91

Model KS350 – T-350

Serial S-4311137

Wire Diagram 117332 DWG

Wire Schematic 117356 DWG

Interconnect 947250C91

Relay Interconnect 117947 DWG

Telemand Electrically Operated Mech

Frame Solar P/N 45572-1

Catalog No ET T02-K120

Manuals, Diagrams and Schematics available through

Cheryl Hallmark

Alturdyne Power Systems

660 Steele Street

El Cajon, CA 92020

Main (619) 440-5531

Direct (619) 387-1811

Fax (619) 442-0481

Email: challmark@alturdyne.com

Website: www.alturdyne.com

Gen4

Solar Gas Turbine Generator Set

Model 200KW

Serial S-431129

Assembly 947386C91

Telemand

Frame Solar P/N 45572

Catalog # TO2-K120

EM Synchronous Generator

Serial Number 7274242231

Type CBRK1

KVA 250

Volts 120\208

Amps694

Wire Diagram 117332-0 DWG

Wire Schematic 117386-0 DWG

Installation 117356-0 DWG

Interconnect 947250C9 DWG

Relay Interconnect 117947-0 DWG

Gen 5

IH Solar P# 904904C1

Generator

EM Synchronous Generator

Serial Number 49 69 1768 31

Type BRKT RPM 3600

KVA 281 Cycles 60

Volts 120/208 amps 780

3 Phase

Frame 720K Power Factor 0.8

Gear Reduction Unit Assembly 904844G91 Serial B-G8

Hours 245

Gen 6

Engine Detroit Diesel 8cyl

Generator 150 KW 3 phase Tamper Synchronous Generator

Serial No. 26-3048-404

Type SG 1582

RPM 1800

Hertz 60

Power Factor 0.8

Exc Field Amps 2.4

Exc Field Volts 70

Frame# 416

Gen 7

Engine Cummins 5.9L

Fuel Diesel

Date of MFG 09/28/87

Set Rating 100

KW 125

Set Number B99096/87

Engine Serial No. 44220466

Injector P/N 3909464

Rated HP 166hp @ 1800rpms

Model Name 6BT - 5.9

Generator 125kw Newage Stamford / Cummins/ Onan

Serial No P3065/3

Gen Type SC344A2

Power Factor 0.8

Volts 208/120 Cont. 3 Phase 60Hz

Generating Set Assembled Cummins Alberta.  Dist via Calgary and Edmonton Offices

Contact Jim Price at Cummins Alberta 780-455-2151

Gen 8

Engine Detroit Diesel

Fuel Diesel

Power 130hp at 1600rpms

Model# 60300

Unit# 6A-20048

Generator Canadian General Electric

No 610113

Model 74578

Frame 9585-S

KVA 125

KW 100

Volts 120/208amp

RPM 1800 Cycles 60 Phase 3

Instr Book CGEH-1244

Gen 9

Onan Model 40.0DXBA-L / 30860A

Serial No G877129701

Gen Serial No. L9700 / 1

Service Rating 40kw Standby 50KVA @ 0.8

Singe Phase 40kw KVA 50

Three Phase 40kw KVA 50

Batt 24V

Generator Serial No. L9700 / 1

Type SC2440D

KVA 75 hz60 phase 3

Volts 480/277 Amps 90.2

Excitation Volts 32.5 amps 1.08

Stator WDG 311

Stator Con STAR

Enclosure 1P22

Insulation Class H